{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet4"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet4","index":0,"n_rows":41,"n_cols":20,"rows_kept":41,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,"no pump",null,null,"pump"]
[null,"setpoint",null,"ts","up","down","ts","up","down"]
[null,25,25.3,714,707,712,716,710,714]
[null,30,30.1,724,717,723,726,720,725]
[null,35,34.799999999999997,734,727,732,736,729.5,734]
[null,40,39.6,743,737,742,746,739,744]
[null,45,44.4,754,747,752]
{"$rows_empty":13}
[null,25,30,35,40,45,50,55,60,65,70,75,80,80,85,90,95,100]
[null,25.3,30.1,34.799999999999997,39.6,44.4,49.6,54.2,59,64,69.599999999999994,73.7,76.599999999999994,79.099999999999994,85.6,88.7,93.2,99.1]
["ts np",714,724,734,743,754,764,773,783,793,804.5,813,819,824,835,842,851,863]
["up np",707,717,727,737,747,757,767,777,787,798,806,813,818,828.5,835,844,856]
["down np",712,723,732,742,752,762,771,781,791,804,811,819,823,832,839,847,859]
["ts p",716,726,736,746,756,767,776,786,795,807,815,821,826]
["up p",710,720,729.5,739,749,760,769,779,789,800,807,814,820]
["down p",714,725,734,744,754,764,773,783,793,806,813,820,825]
[null,{"$f":"(B24-663.55)/2.0204","v":24.97030291031481},29.919817857849953,34.869332805385092,39.32389625816672,44.768362700455377,49.71787764799052,54.172441100772147,59.12195604830729,64.071470995842432,69.763413185507844,73.970500890912717,76.940209859433793,79.414967333201375,84.859433775490032,88.32409423876463,92.778657691546258,{"$f":"(R24-663.55)/2.0204","v":98.718075628588423},null,"y = 2,0204x + 663,55"]
[null,{"$f":"(B25-657.01)/2.0175","v":24.778190830235445},29.734820322180919,34.6914498141264,39.648079306071871,44.604708798017349,49.561338289962826,54.517967781908304,59.474597273853782,64.431226765799252,69.883519206939283,73.848822800495668,77.3184634448575,79.796778190830238,85.001239157372993,88.223048327137548,92.684014869888472,{"$f":"(R25-657.01)/2.0175","v":98.631970260223056},null,"y = 2,0175x + 657,01"]
[null,{"$f":"(B26-663.45)/1.9812","v":24.505350292751842},30.057540884312512,34.600242277407609,39.64768826973549,44.69513426206337,49.742580254391257,54.28528164748635,59.33272763981423,64.380173632142117,70.941853422168364,74.475065616797878,78.513022410660184,80.532000807591331,85.074702200686431,88.607914395315944,92.645871189178251,{"$f":"(R26-663.45)/1.9812","v":98.702806379971705},null,"y = 1,9812x + 663,45"]
[null,{"$f":"(B27-665.1)/2.0381","v":24.974240714390842},29.880771306609084,34.78730189882733,39.693832491045569,44.600363083263815,49.997546734703882,54.4134242677003,59.319954859918539,63.735832392914958,69.623669103576844,73.54889357735145,76.492811932682386,78.946077228791509,-326.33334968843531,-326.33334968843531,-326.33334968843531,{"$f":"(R27-665.1)/2.0381","v":-326.33334968843531},null,"y = 2,0381x + 665,1"]
[null,{"$f":"(B28-659)/2.0264","v":25.167785234899327},30.102645084879587,34.790761942360831,39.478878799842079,44.413738649822342,49.84208448480063,54.283458349782862,59.218318199763118,64.153178049743374,69.581523884721662,73.035925779707853,76.490327674694029,79.451243584682189,-325.20726411369913,-325.20726411369913,-325.20726411369913,{"$f":"(R28-659)/2.0264","v":-325.20726411369913},null,"y = 2,0264x + 659"]
[null,{"$f":"(B29-662.66)/2.0478","v":25.070807696064083},30.44242601816585,34.837386463521845,39.720675847250725,44.603965230979604,49.487254614708483,53.882215060064475,58.765504443793354,63.648793827522233,69.997070026369769,73.415372594979985,76.8336751635902,79.275319855454654,-323.59605430217795,-323.59605430217795,-323.59605430217795,{"$f":"(R29-662.66)/2.0478","v":-323.59605430217795},null,"y = 2,0478x + 662,66"]
[null,{"$f":"B$23-B30","v":0.32969708968519029},{"$f":"C$23-C30","v":0.18018214215004846},-6.9332805385094787E-2,0.2761037418332819,-0.36836270045537844,-0.11787764799051814,2.7558899227855704E-2,-0.12195604830728968,-7.1470995842432217E-2,-0.16341318550784933,-0.27050089091271445,-0.34020985943379856,-0.31496733320138048,0.74056622450996201,0.37590576123537289,0.42134230845374532,0.38192437141157143]
[null,{"$f":"B$23-B31","v":0.52180916976455549},0.36517967781908212,0.10855018587359666,-4.807930607186961E-2,-0.20470879801735009,3.8661710037175112E-2,-0.31796778190830111,-0.47459727385378159,-0.43122676579925212,-0.28351920693928889,-0.14882280049566532,-0.71846344485750535,-0.69677819083024417,0.59876084262700147,0.47695167286245521,0.51598513011153102,0.46802973977693796]
[null,{"$f":"B$23-B32","v":0.79464970724815842},4.2459115687488946E-2,0.19975772259238767,-4.768826973548812E-2,-0.29513426206337101,-0.14258025439125532,-8.5281647486347367E-2,-0.33272763981423026,-0.38017363214211741,-1.34185342216837,-0.77506561679787467,-1.9130224106601901,-1.4320008075913364,0.52529779931356302,9.2085604684058353E-2,0.55412881082175147,0.39719362002828973]
[null,{"$f":"B$23-B33","v":0.32575928560915912},0.21922869339091733,1.2698101172667009E-2,-9.3832491045567679E-2,-0.20036308326381658,-0.39754673470388013,-0.21342426770029732,-0.31995485991853911,0.26416760708504228,-2.3669103576850148E-2,0.15110642264855301,0.10718806731760822,0.15392277120848519]
[null,{"$f":"B$23-B34","v":0.13221476510067376},-2.6450848795853688E-3,9.2380576391661862E-3,0.12112120015792271,-1.3738649822343518E-2,-0.24208448480062827,-8.3458349782858932E-2,-0.21831819976311806,-0.15317804974337434,1.8476115278332372E-2,0.66407422029215013,0.10967232530596505,-0.35124358468219441]
[null,{"$f":"B$23-B35","v":0.22919230393591761},-0.34242601816584894,-3.7386463521848157E-2,-0.12067584725072322,-0.20396523097960539,0.11274538529151812,0.31778493993552814,0.23449555620664597,0.35120617247776664,-0.39707002636977506,0.28462740502001793,-0.23367516359020613,-0.17531985545466]